## Sheet1
# | MC/RCM | (A) Name of ULB | District Name | Basis of Estimation | Actual Total Sewage Generation per day | Targeted Household to be connected to sewers | Households connected | Household Connected Till 30th April 2026 | Time targets to complete connectivity (HHs to STPs) | Installed Treatment capacities of existing STPs | Utilisation capacity of existing STPs | Gap in Sewage generation and treatment | Performance of STPs with reference to Standards (15) | Final point of discharge of treated effluent | Level of Utilisation of Treated Sewage (17) | Amount of Sludge Generated | Management of Sludge | Blank_18 | Open Drainage 2025 - Sewage and Sullage flowing in open Drains (Storm water Drains / concretised Drains /unlined/ kutcha Drains) | Open Drainage 2025 - Flow in each Drain | Open Drainage 2025 - Quality / Characteristics of effluent | Open Drainage 2025 - Quantity of Industrial effluent discharged in Drain | Open Drainage 2025 - Final point of discharge of Drain | Open Drainage 2025 - Where does the water in the open drain come from? | Open Drainage 2025 - What has been planned for that? | Open Drainage 2025 - Name of Project | Open Drainage 2025 - Drainage Length | Open Drainage 2025 - Physical Progress | Open Drainage 2025 - Date of Completion | Open Drainage 2025 - How many drains will become zero due to this project? | Open Drainage 2025 - How much MLD gap will be reduced due to this project? | Blank_32 | UGD Project Details - Name of UGD Project | UGD Project Details - Length Covered Under UGD Project | UGD Project Details - Current Stage of UGD Network | UGD Project Details - Physical Progress | UGD Project Details - Fanincial Progress | UGD Project Details - HHs connected with UGD network | UGD Project Details - Date of Completion | Drain_Discharge_Type | UGD_Length_KM | UGD_HH_Connected | Total_Drain_Flow_MLD
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage network at Gyaspur in Lambha ward of South Zone | 17 | Under Construction |  |  | 3000 | 2025-08-13 | nan | 17 | 3000
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage network at Peepalj in Lambha ward of South Zone | 31 | Under Construction |  |  | 3200 | 2025-10-10 | nan | 31 | 3200
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Laying a drainage network connected to the drainage pumping station behind the Dashama Mandir in Vastral ward in the East Zone. | 21.86 | Under Construction |  |  | 1500 | 2025-07-30 | nan | 21.86 | 1500
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Draft T. P. 89, 90 of South West Zone regarding the work of laying sewer network. | 7 | Under Construction |  |  | 2500 | 2025-03-09 | nan | 7 | 2500
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Work to lay 2000 mm diameter drainage trunk main line from Hebatpur Junction to Hebatpur Railway Gate in North Western Zone | 0.8 | Under Construction |  |  | 2300 | 2025-03-10 | nan | 0.8 | 2300
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage network work in TP Scheme No. 94,95 Geratpur area in Ramol - Hathijan ward of East Zone (Package-1) | 19.4 | Under Construction |  |  | 1500 | 2026-02-28 | nan | 19.4 | 1500
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage network laying work in TP 241 (Nana Chiloda) area of ​​North Zone | 14 | Under Construction |  |  | 1600 | 2025-10-17 | nan | 14 | 1600
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage network at Kamod in Lambha ward of South Zone | 13.6 | Under Planning |  |  | 1800 |  | nan | 13.6 | 1800
1 | MC | Ahmedabad Municipal Corporation | Ahmedabad | Calculated as per 80% of Water Supply | 1320 | 1901145 | 1874922 | 26223 | 2026-07-01 | 1367 | 1320 | 0 | Attached as Annexure-II | In River and Irrigation Canal | 0.264 | 85 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Regarding the work of laying drainage network in Shilaj/Bhadj in Thaltej ward of North West Zone. | 0.83 | Under Planning |  |  | 1800 |  | nan | 0.83 | 1800
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Sardar Nagar 50 Varia | 4.5 | Under Construction |  |  | 500 | 2026-03-16 | nan | 4.5 | 500
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Adhwewada TP | 80 | Under Construction |  |  | 250 | 2026-05-17 | nan | 80 | 250
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Adhwewada Gamtal And Tarsamiya TP | 25 | Under Construction |  |  | 510 | 2026-02-16 | nan | 25 | 510
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | different societies to Adhewada TP Scheme area | 30.34 | Under Construction |  |  | 1022 | 2026-05-19 | nan | 30.34 | 1022
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Ruva TP scheme 9 and 21 | - | Under Construction |  |  | - |  | nan
2 | MC | Bhavnagar Municipal Corporation | Bhavnagar | Calculated as per 80% of Water Supply | 100.6 | 262327 | 258095 | 4232 | 2027-12-01 | 144.2 | 100.6 | 0 | Attached as Annexure-II | In Creek through drain | 0.109 | 3.425 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Akwada and Tarsamiya | - | Under Planning |  |  | - |  | nan
3 | MC | Gandhinagar Municipal Corporation | Gandhinagar | Calculated as per 80% of Water Supply | 98 | 128500 | 126860 | 1640 | 2025-09-01 | 178 | 98 | 0 | Attached as Annexure-II | In Drain | 0.761 | 11 | Agriculture |  | 0 |  |  | 0 | [10 empty] | GMC:Providing & Laying Sewerage Network in Khoraj Gamtal & TP-303 (Khoraj) with 5 years of O & M of GMC area | 38 | Under Construction |  |  | 5600 | 2025-09-30 | nan | 38 | 5600
3 | MC | Gandhinagar Municipal Corporation | Gandhinagar | Calculated as per 80% of Water Supply | 98 | 128500 | 126860 | 1640 | 2025-09-01 | 178 | 98 | 0 | Attached as Annexure-II | In Drain | 0.761 | 11 | Agriculture |  | 0 |  |  | 0 | [10 empty] | GMC: Providing & Laying Water Supply & Sewerage Network in Nabhoi Gamtal | 45 | Under Construction |  |  | 1500 | 2025-09-28 | nan | 45 | 1500
3 | MC | Gandhinagar Municipal Corporation | Gandhinagar | Calculated as per 80% of Water Supply | 98 | 128500 | 126860 | 1640 | 2025-09-01 | 178 | 98 | 0 | Attached as Annexure-II | In Drain | 0.761 | 11 | Agriculture |  | 0 |  |  | 0 | [10 empty] | GMC: Providing & Laying Water Supply & Sewerage Network in remaining part of Kolavda Gamtal of GMC area | 37.79 | Under Construction |  |  | 1200 | 2025-09-22 | nan | 37.79 | 1200
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 5 (PART-1) | 57 | Under Construction |  |  | 8000 | 2025-08-30 | River | 57 | 8000 | 14
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 8 | 27 | Under Construction |  |  | 5372 | 2026-09-01 | River | 27 | 5372 | 14
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 9 | 21 | Under Construction |  |  | 8005 | 2026-09-01 | River | 21 | 8005 | 14
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 10 | 48.85 | Under Construction |  |  | 20000 | 2026-09-01 | River | 48.85 | 20000 | 14
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 7 (PART - 1) | 27.14 | Under Construction |  |  | 4300 | 2025-08-31 | River | 27.14 | 4300 | 14
4 | MC | Jamnagar Municipal Corporation | Jamnagar | Calculated as per 80% of Water Supply | 84.8 | 220288 | 199226 | 21062 | 2026-12-01 | 70 | 70 | 14.8 | Attached as Annexure-II | In Rangmati river | 0.071 | 0.8 | Agriculture |  | 1 | 14 | Domestic Sewage | 0 | In Rangmati river | [9 empty] | JMC PKG 7 (PART - 3) | 37.81 | Under Construction |  |  | 3477 | 2025-08-31 | River | 37.81 | 3477 | 14
5 | MC | Junagadh Municipal Corporation | Junagadh | Calculated as per 80% of Water Supply | 42.4 | 94655 | 78472 | 16183 | 2026-07-01 | 66.7 | 33.9 | 8.5 | Attached as Annexure-II | In Drain | 0.177 | 0.57 | Agriculture |  | 3 | 3 2 3 | Domestic Sewage with Industrial Effluent | 2 | In Uben River | [9 empty] | UGD Phase -2 | 3.6 | Under Construction |  |  | 47000 | 2026-06-30 | River | 3.6 | 47000 | 8
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | AMRUT 2.0 : PROVIDING, LOWERING, LAYING, JOINTING, TESTING AND COMMISSIONING OF SEWERAGE LINE IN NEW SOCIETIES, Ward 18 | 10.3 | Utilizing |  |  | 1200 | 2024-05-10 | nan | 10.3 | 1200
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and laying house coonection chember in area of adjoining Munjaka village in ward no. 9 | 4.7 | Utilizing |  |  | 550 | 2025-06-18 | nan | 4.7 | 550
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING AND LAYING PROP. SEWERAGE NETWORK TO PROP. SPS AT MUNJAKA OF RMC AREA (PART - 5) IN WARD NO 9. WITH ROAD RESTORATION WORK | 15.62 | Utilizing |  |  | 13000 | 2024-03-16 | nan | 15.62 | 13000
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING AND LAYING PROPOSED SEWER NETWORK CONNECTED TO EXISTING 1200 DIA. PIPE AT WARD NO.12 & REMAINING PART OF WARD NO.11 WITH ROAD RESTORATION WORK WITH HOUSE CONNECTION IN RMC AREA UNDER AMRUT 2 | 31.74 | Utilizing |  |  | 4500 | 2024-03-14 | nan | 31.74 | 4500
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and Laying Proposed Sewerage Network to SPS-01 in RMC Area (SPS-01/2, North Side of Vardhaman Nagar 24 mt. DP Road) With Road Restoration Work in Ward no. 01 | 5 | Utilizing |  |  | 800 | 2024-01-16 | nan | 5 | 800
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING AND LAYING PROP. SEWERAGE NETWORK TO EXISTING MADHAPAR SPS IN RMC AREA (Part-3) (North-East portion of Madhapar Junction) With Road Restoration in ward no 03 | 17.03 | Utilizing |  |  | 2100 | 2023-10-10 | nan | 17.03 | 2100
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING AND LAYING PROP. SEWERAGE NETWORK TO EXISTING MADHAPAR SPS IN RMC AREA (Part-4) (South-East portion of Madhapar Junction) With Road Restoration in Ward no 03 | 15.5 | Utilizing |  |  | 3500 | 2023-10-10 | nan | 15.5 | 3500
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and Laying Proposed Sewerage Network to SPS-02 in RMC AREA (PART-03) (SPS-02/1, North Side of Jamnagar Highway Road and Pipe Pushing work under Railway Crossing and Rajkot Jamnagar Highway) with Road Restoration in ward no 01 | 10.47 | Utilizing |  |  | 1100 | 2024-09-12 | nan | 10.47 | 1100
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and Laying Proposed Sewerage Network to SPS-02 in RMC Area (SPS-02/2, SRP Campus to Area Near Green Leaf) With Road Restoration Work in ward no 01 | 23.07 | Utilizing |  |  | 2000 | 2024-03-14 | nan | 23.07 | 2000
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and Laying Proposed Sewerage Network to SPS-02 in RMC Area (SPS-02/3, Part of F.C.I Godown, Ghanteshwar Village and Area of TP-33) with Road Restoration Work in ward no 01 | 32.42 | Utilizing |  |  | 2500 | 2024-08-20 | nan | 32.42 | 2500
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING AND LAYING PROP. SEWERAGE NETWORK TO EXISTING MADHAPAR SPS IN RMC AREA (PART-1) IN WARD NO. 03 (SOUTH-WEST PORTION OF MADHAPAR JUNCTION) WITH ROAD RESTORATION | 21.94 | Utilizing |  |  | 1850 | 2024-07-03 | nan | 21.94 | 1850
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing and Laying Proposed Sewerage Network to Existing Madhapar SPS IN RMC Area (Part-2-B) (North-West portion of Madhapar Junction) With Road Restoration | 16.65 | Utilizing |  |  | 1500 | 2024-07-03 | nan | 16.65 | 1500
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING SEWERAGE HOUSE CONNECTION SYSTEM IN SPS-01 IN RMC AREA (PART -1 AND 2 SOUTH AND NORTH SIDE OF VARDHAMAN NAGAR 24.00 MT. DP ROAD ) | 44.16 | Utilizing |  |  | 2500 | 2024-09-12 | nan | 44.16 | 2500
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING SEWERAGE HOUSE CONNECTION SYSTEM IN SPS-02 IN RMC AREA (PART -1 AND 2 NORTH SIDE OF JAMNAGAR HIGHWAY ROAD ABD SRP CAMPUS TO AREA NEAR GREEN LEAF ) in Ward No.-1 | 44.65 | Utilizing |  |  | 2450 |  | nan | 44.65 | 2450
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | PROVIDING SEWERAGE HOUSE CONNECTION SYSTEM IN SPS-02 IN RMC AREA (PART -3, PART OF F.C.I. GODOWN, GHANTESHWAR VILLAGE AND AREA OF TP -33) in Ward No.-1 | 29.32 | Utilizing |  |  | 2295 | 2025-06-26 | nan | 29.32 | 2295
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing Sewerage House Connection System In Existing Madhapar SPS In RMC Area (Part-1) (South-West Side from Madhapar Circle, 150 Ft Ring Road) With Road Restoration | 16.8 | Utilizing |  |  | 1450 | 2025-06-13 | nan | 16.8 | 1450
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing Sewerage House Connection System In Existing Madhapar SPS In RMC Area (Part-2A) (North-West Side from Madhapar Circle, 150 Ft Ring Road) With Road Restoration | 6.72 | Utilizing |  |  | 750 | 2025-06-13 | nan | 6.72 | 750
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing Sewerage House Connection System In Existing Madhapar SPS In RMC Area (Part-2B) (North-West Side from Madhapar Circle, 150 Ft Ring Road) With Road Restoration | 10.2 | Utilizing |  |  | 900 | 2025-06-13 | nan | 10.2 | 900
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing Sewerage House Connection System In Existing Madhapar SPS In RMC Area (Part-3) (North-East Side from Madhapar Circle, 150 Ft Ring Road) With Road Restoration | 7.8 | Utilizing |  |  | 900 | 2025-06-13 | nan | 7.8 | 900
6 | MC | Rajkot Municipal Corporation | Rajkot | Calculated as per 80% of Water Supply | 237.44 | 578250 | 531055 | 47195 | 2026-12-01 | 332 | 237.44 | 0 | Attached as Annexure-II | In Dam | 0.998 | 26.96 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Providing Sewerage House Connection System In Existing Madhapar SPS In RMC Area (Part-4) (South-East Side from Madhapar Circle, 150 Ft Ring Road) With Road Restoration | 16.23 | Utilizing |  |  | 1350 | 2025-06-13 | nan | 16.23 | 1350
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Drainage Network at Navagam | 2 | Under Construction |  |  | 9960 | 2026-03-31 | nan | 2 | 9960
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Drainage Network at East zone-A (Varachha) | 0.863 | Under Construction |  |  | 7558 | 2026-03-31 | nan | 0.863 | 7558
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Drainage Network at East zone-A (Varachha) | 5.52 | Under Construction |  |  | 14300 | 2026-03-31 | nan | 5.52 | 14300
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | East zone-A (Varachha) | 3.05 | Under Construction |  |  | 15300 | 2026-03-31 | nan | 3.05 | 15300
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Drainage Network at Kumbhariya Part-A | 12.149 | Under Construction |  |  | 13100 | 2026-03-31 | nan | 12.149 | 13100
7 | MC | Surat Municipal Corporation | Surat | Calculated as per 80% of Water Supply | 1300.26 | 1836339 | 1768121 | 68218 | 2026-07-01 | 1969.75 | 1300.26 | 0 | Attached as Annexure-II | In Creek | 0.259 | 95.5 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Drainage Network at Kumbhariya Part-B | 7.62 | Under Construction |  |  | 10300 | 2026-03-31 | nan | 7.62 | 10300
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage gravity network and APS in Darjipura and Harni area | 3.58 | Under Construction |  |  | - | 2025-12-28 | nan | 3.58
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage line from Premdas Jalaram Hospital towards Oadnagar culvert in East zone | 0.72 | Under Construction |  |  | - | 2025-11-30 | nan | 0.72
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage gravity line from Sevasi to Sherkhi STP | 6.8 | Under Construction |  |  | - | 2026-12-31 | nan | 6.8
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | APS, Pressure line and Drainage network in Bil | 25 | Under Construction |  |  | 14962 | 2026-03-30 | nan | 25 | 14962
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Sewerage system and Drainage network in Sevasi & Bhayli | 35.42 | Under Construction |  |  | 0 | 2025-12-31 | nan | 35.42 | 0
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage gravity network in Gorwa, Undera and Karodiya | 25.78 | Under Construction |  |  | 15860 | 2025-08-30 | nan | 25.78 | 15860
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Drainage gravity network in Tarsali Outgrowth area in TPS 52 of with 5 Years of O & M. | 1.79 | Under Construction |  |  | - | 2025-12-31 | nan | 1.79
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Gravity Network in out growth Vadadla area with 5 Years O & M. | 3.2 | Under Construction |  |  | - | 2025-12-31 | nan | 3.2
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Gravity line in Tarsali area town planning scheme 39 | 7.4 | Under Construction |  |  | 2900 | 2025-08-31 | nan | 7.4 | 2900
8 | MC | Vadodara Municipal Corporation | Vadodara | Calculated as per 80% of Water Supply | 461.1 | 675247 | 641525 | 33722 | 2026-12-01 | 662 | 461.1 | 0 | Attached as Annexure-II | In Vishwamitri River | 0.041 | 35.35 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Gravity network line in Kapurai area TPS 41, 42 | 7 | Under Construction |  |  | - | 2025-12-30 | nan | 7
9 | New MC | Nadiad | Kheda | Calculated as per 80% of Water Supply | 32 | 68240 | 50926 | 17314 | 2028-12-01 | 50 | 22 | 10 | Attached as Annexure-II | In Shedhi River | 0 | 4 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Nadiad UGD-1 (SWAP-3) Nadiad UGD-2 (Swap-2) | 60 | Utilizing |  |  | ongoing | 2027-10-09 | nan | 60
10 | RCM | Surendranagar | Surendranagar | Calculated as per 80% of Water Supply | 25.73 | 57241 | 45673 | 11568 | 2026-12-01 | 32 | 19 | 6.73 | Attached as Annexure-II | In Natural Drain | 0.05 | 3.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | underground network At surendranagar | 17 | Utilizing |  |  | ongoing | 2026-12-31 | nan | 17
11 | RCM | Dholka | Ahmedabad | Calculated as per 80% of Water Supply | 10.6 | 24906 | 24906 | 0 |  | 14 | 10.6 | 0 | Attached as Annexure-II | In Sabarmati River | 0 | 2.2 | Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Dholka UDG 4.1 (IA-GUDC) | 6 | Utilizing |  |  | ongoing | 2025-09-30 | nan | 6
12 | RCM | Sanand | Ahmedabad | Calculated as per 80% of Water Supply | 8.9 | 20756 | 20756 | 0 |  | 21 | 8.9 | 0 | Attached as Annexure-II | In Irrigation Canal | 0 | 1.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | sanand UGD -II (IA-AUDA) | 48 | Utilizing |  |  | ongoing | 2026-12-31 | nan | 48
13 | RCM | Botad | Botad | Calculated as per 80% of Water Supply | 14.84 | 35133 | 35133 | 0 |  | 32 | 14.84 | 0 | Attached as Annexure-II | In Utavli River | 0.03 | 2.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | underground network At botad (IA-GUDC) | 27 | Utilizing |  |  | ongoing | 2026-06-11 | nan | 27
14 | RCM | Dhrangadhra | Surendranagar | Calculated as per 80% of Water Supply | 8.91 | 20625 | 20625 | 0 |  | 12 | 8.91 | 0 | Attached as Annexure-II | In Falku River | 0.03 | 1.4 | Landfill Sites |  | 0 |  |  | 0 | [10 empty] | Dhrangadhra UGD-II (IA-GUDC) | 54 | Utilizing |  |  | ongoing | 2025-12-31 | nan | 54
15 | RCM | Viramgam | Ahmedabad | Calculated as per 80% of Water Supply | 12.02 | 23480 | 8000 | 15480 | 2026-12-01 | 5 | 3.2 | 8.82 | Attached as Annexure-II | In Gangasar Lake | 0 | 0.5 | Agriculture |  | 2 | 5.66, 1.5 | Domestic Grey Water | 0 | In Canal | [9 empty] | Viramgam Phase-4 (IA-GUDC) | 7 | Under Planning |  |  | planning | 2026-12-31 | Canal | 7 |  | 7.16
16 | RCM | Bavla | Ahmedabad | Calculated as per 80% of Water Supply | 8.09 | 15949 | 8162 | 7787 | 2025-12-01 | 6 | 3.5 | 4.59 | Attached as Annexure-II | In Irrigation Canal | 0 | 0.6 | Landfill Sites |  | 1 | 1.5 | Domestic Grey Water | 0 | In Pond | [9 empty] | Bavla UGD-II (IA-GUDC) | 53 | Utilizing |  |  | ongoing | 2026-12-31 | Pond | 53 |  | 1.5
17 | RCM | Chaklasi | Kheda | Calculated as per 80% of Water Supply | 4.44 | 7787 | 0 | 7787 | 2025-09-01 | 0 | 0 | 4.44 |  |  | 0 | 0 |  |  | 1 | 1.13 | Domestic Grey Water | 0 | In Lake | [9 empty] | underground network At chaklasi | 3 | Utilizing |  |  | ongoing | 2025-09-30 | Lake | 3 |  | 1.13
18 | RCM | Kapadvanj | Kheda | Calculated as per 80% of Water Supply | 5.43 | 11462 | 8102 | 3360 | 2026-12-01 | 6 | 3.5 | 1.93 | Attached as Annexure-II | In River | 0 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | kapadvanj UGD-II (IA-GUDC) | 14 | Utilizing |  |  | ongoing | 2026-12-22 | nan | 14
19 | RCM | Dakor | Kheda | Calculated as per 80% of Water Supply | 5.19 | 8936 | 0 | 8936 | 2026-12-01 | 0 | 0 | 5.19 |  |  | 0 | 0 |  |  | 1 | 3.25 | Domestic Grey Water | 0 | In Pond | [9 empty] | dakor UGD-II (IA-GUDC) | 6 | Under Planning |  |  | planning | 2026-12-31 | Pond | 6 |  | 3.25
20 | RCM | Limbdi | Surendranagar | Calculated as per 80% of Water Supply | 5.67 | 9625 | 0 | 9625 | 2027-12-01 | 0 | 0 | 5.67 |  |  | 0 | 0 |  |  | 1 | 4.38 | Domestic Grey Water | 0 | In Pond | [9 empty] | Limbdi UGD-II (IA-GUDC) | 80 | Under Planning |  |  | planning | 2027-12-31 | Pond | 80 |  | 4.38
21 | RCM | Thangadh | Surendranagar | Calculated as per 80% of Water Supply | 4.09 | 10148 | 10148 | 0 |  | 9 | 4.09 | 0 | Attached as Annexure-II | In Maha River | 0 | 0.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Thangadh UGD-II (IA-GUDC) | 26 | Under Planning |  |  | planning | 2026-12-31 | nan | 26
22 | RCM | Chotila | Surendranagar | Calculated as per 80% of Water Supply | 4.01 | 7859 | 3622 | 4237 | 2025-12-01 | 4 | 1.53 | 2.48 | Attached as Annexure-II | In Drain | 0 | 0.2 | Landfill Sites |  | 0 |  |  | 0 | [10 empty] | chotila UGD-II | 6 | Utilizing |  |  | ongoing | 2025-12-05 | nan | 6
23 | RCM | Dhandhuka | Ahmedabad | Calculated as per 80% of Water Supply | 3.79 | 9404 | 9404 | 0 |  | 8 | 3.79 | 0 | Attached as Annexure-II | In Nilka River | 0 | 0.8 | Agriculture |  | 0 |  |  | 0 | [10 empty] | dhandhuka UGD-II | 1 | Utilizing |  |  | ongoing | 2026-12-31 | nan | 1
24 | RCM | Bareja | Ahmedabad | Calculated as per 80% of Water Supply | 2.63 | 5615 | 3662 | 1953 | 2025-10-01 | 3 | 1.5 | 1.13 | Attached as Annexure-II | In Lake | 0 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | bareja UGD-II | 5 | Utilizing |  |  | ongoing | 2026-12-31 | nan | 5
25 | RCM | Gadhada | Botad | Calculated as per 80% of Water Supply | 3.26 | 5543 | 0 | 5543 | 2026-12-01 | 0 | 0 | 3.26 |  |  | 0 | 0 |  |  | 1 | 4.59 | Domestic Grey Water | 0 | In Lake | [10 empty] | 0 | [5 empty] | Lake |  |  | 4.59
26 | RCM | Mahemdabad | Kheda | Calculated as per 80% of Water Supply | 5.37 | 12617 | 12617 | 0 |  | 6 | 5.37 | 0 | Attached as Annexure-II | In Vatrak River | 0.27 | 1.1 | Landfill Sites |  | 0 |  |  | 0 | [10 empty] | underground network At Mahemdabad (IA-AUDA) | 4 | Utilizing |  |  | ongoing | 2026-12-31 | nan | 4
27 | RCM | Kheda | Kheda | Calculated as per 80% of Water Supply | 5.2 | 12500 | 12500 | 0 |  | 5.2 | 5.2 | 0 | Attached as Annexure-II | In Lake | 0.24 | 1 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Kheda UGD-II | 7 | Under Planning |  |  | planning | 2026-12-31 | nan | 7
28 | RCM | Kathlal | Kheda | Calculated as per 80% of Water Supply | 3.15 | 5411 | 0 | 5411 | 2026-05-01 | 0 | 0 | 3.15 |  |  | 0 | 0 |  |  | 1 | 2.92 | Domestic Sewage | 0 | In Pond | [9 empty] | kathlal UGD-II (IA-GUDC) | 11 | Utilizing |  |  | ongoing | 2026-05-26 | Pond | 11 |  | 2.92
29 | RCM | Barvada | Botad | Calculated as per 80% of Water Supply | 1.6 | 3731 | 3731 | 0 |  | 3 | 1.6 | 0 | Attached as Annexure-II | In River | 0 | 0.2 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Barvada UGD-II | 25.63 | Under Planning |  |  | planning | 2026-12-31 | nan | 25.63
30 | RCM | Kanjari | Kheda | Calculated as per 80% of Water Supply | 3.3 | 7872 | 7872 | 0 |  | 3.3 | 3.3 | 0 | Attached as Annexure-II | In Irrigation Canal | 0.15 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Kanjari UGD-II (IA-GUDC) | 1.87 | Utilizing |  |  | ongoing | 2026-06-25 | nan | 1.87
31 | RCM | Mahudha | Kheda | Calculated as per 80% of Water Supply | 2.89 | 5037 | 0 | 5037 | 2026-12-01 | 0 | 0 | 2.89 |  |  | 0 | 0 |  |  | 2 | 0.904, 1.0 | Domestic Grey Water | 0 | In Pond | [9 empty] | mahudha UGD-II (IA-GUDC) | 2 | Under Planning |  |  | planning | 2026-12-31 | Pond | 2 |  | 1.904
32 | RCM | Thasra | Kheda | Calculated as per 80% of Water Supply | 1.54 | 2621 | 0 | 2621 | 2026-12-01 | 0 | 0 | 1.54 |  |  | 0 | 0 |  |  | 2 | 1.0, 0.672 | Domestic Sewage | 0 | In Pond | [9 empty] | Thasra UGD-II (IA-GUDC) | 26 | Utilizing |  |  | ongoing | 2025-11-30 | Pond | 26 |  | 1.672
33 | RCM | Patadi | Surendranagar | Calculated as per 80% of Water Supply | 2.45 | 4239 | 0 | 4239 | 2026-12-01 | 0 | 0 | 2.45 |  |  | 0 | 0 |  |  | 1 | 2.8 | Domestic Grey Water | 0 | In Pond | [9 empty] | Patadi UGD-II (IA-GUDC) | 4 | Under Planning |  |  | planning | 2026-12-31 | Pond | 4 |  | 2.8
34 | RCM | Amreli | Amreli | Calculated as per 80% of Water Supply | 18.46 | 39060 | 27546 | 11514 | 2026-12-01 | 18 | 11.9 | 6.56 | Attached as Annexure-II | In Thebi River | 0.13 | 1.8 | Internal use by ULBs for Gardening and Landscaping |  | 2 | 0.7, 0.3 | Domestic Sewage | 0 | In Thebi RIver | [10 empty] | 0 | [5 empty] | River |  |  | 1
35 | RCM | Savarkundla | Amreli | Calculated as per 80% of Water Supply | 7.75 | 13410 | 0 | 13410 | 2026-12-01 | 0 | 0 | 7.75 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 66.51 | Utilizing |  |  |  | 2026-12-04 | nan | 66.51
36 | RCM | Mahuva | Bhavnagar | Calculated as per 80% of Water Supply | 19.36 | 40371 | 21500 | 18871 | 2026-12-01 | 16 | 8.6 | 10.76 | Attached as Annexure-II | In Weir | 0.15 | 1.9 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 19 | Under Planning |  |  |  | 2027-06-01 | nan | 19
37 | RCM | Palitana | Bhavnagar | Calculated as per 80% of Water Supply | 5.79 | 13498 | 13498 | 0 |  | 11 | 5.79 | 0 | Attached as Annexure-II | In Weir | 0 | 1.2 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 51.14 | Utilizing |  |  |  | 2025-09-12 | nan | 51.14
38 | RCM | Veraval | Gir Somnath | Calculated as per 80% of Water Supply | 19.72 | 33914 | 0 | 33914 | 2027-07-01 | 0 | 0 | 19.72 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY-part-I, AMRUT 2.0 part-II | 73.5 | Utilizing |  |  |  | 2026-09-19 | nan | 73.5
39 | RCM | Keshod | Junagadh | Calculated as per 80% of Water Supply | 7.79 | 18032 | 18032 | 0 |  | 13 | 7.79 | 0 | Attached as Annexure-II | In Drain | 0 | 1.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 47.84 | Utilizing |  |  |  | 2026-11-03 | nan | 47.84
40 | RCM | Rajula | Amreli | Calculated as per 80% of Water Supply | 3.91 | 9184 | 9184 | 0 |  | 6 | 3.91 | 0 | Attached as Annexure-II | In Pond | 0.31 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 17 | Utilizing |  |  |  | 2026-09-30 | nan | 17
41 | RCM | Shihor | Bhavnagar | Calculated as per 80% of Water Supply | 6.12 | 14178 | 12057 | 2121 | 2027-02-01 | 9 | 4.9 | 1.22 | Attached as Annexure-II | In Gautmi River | 0.31 | 1 | Internal use by ULBs for Gardening and Landscaping |  | 3 | 1.20, 1.50, 1.20 | Domestic Grey Water | 0 | In Gautami River | [9 empty] | UGD Phase 2 | 28.3 | Utilizing |  |  |  | 2027-02-21 | River | 28.3 |  | 3.9
42 | RCM | Una | Gir Somnath | Calculated as per 80% of Water Supply | 8.27 | 19286 | 19286 | 0 |  | 12 | 8.27 | 0 | Attached as Annexure-II | In Machhundri River | 0.42 | 1.6 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 74.66 | Utilizing |  |  |  | 2026-11-26 | nan | 74.66
43 | RCM | KodInar | Gir Somnath | Calculated as per 80% of Water Supply | 3.1 | 6584 | 4664 | 1920 | 2027-11-01 | 6 | 2 | 1.1 | Attached as Annexure-II | In Pond | 0 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 33.18 | Utilizing |  |  |  | 2027-11-26 | nan | 33.18
44 | RCM | Mangrol | Junagadh | Calculated as per 80% of Water Supply | 6.87 | 11747 | 0 | 11747 | 2027-07-01 | 0 | 0 | 6.87 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY (Implement by Gudc) | 90.55 | Under Planning |  |  |  | 2027-06-20 | nan | 90.55
45 | RCM | Bagsara | Amreli | Calculated as per 80% of Water Supply | 3.65 | 8510 | 8510 | 0 |  | 6 | 3.65 | 0 | Attached as Annexure-II | In River | 0 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY (Implement by np) | 7.49 | Utilizing |  |  |  | 2025-09-30 | nan | 7.49
46 | RCM | Jafrabad | Amreli | Calculated as per 80% of Water Supply | 2.68 | 4643 | 0 | 4643 | 2026-12-01 | 0 | 0 | 2.68 |  |  | 0 | 0 |  |  | 3 | 0.30, 0.40, 0.40 | Domestic Sewage | 0 | In Pond | [9 empty] | SJMMSVY (Implement by GUDC) | Total-49.20 Km UGD ph.2-11.5 Km | Under Construction |  |  |  | 2026-12-31 | Pond |  |  | 1.1
47 | RCM | Babara | Amreli | Calculated as per 80% of Water Supply | 2.58 | 6155 | 6155 | 0 |  | 4 | 2.58 | 0 | Attached as Annexure-II | In River | 0.19 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 4.66 | Under Construction |  |  |  | 2025-12-03 | nan | 4.66
48 | RCM | Dhari | Amreli | Calculated as per 80% of Water Supply | 3.2 | 5615 | 0 | 5615 | 2027-07-01 | 0 | 0 | 3.2 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | - | - | [5 empty] | nan
49 | RCM | Lathi | Amreli | Calculated as per 80% of Water Supply | 2.49 | 4221 | 4221 | 0 |  | 4 | 0 | 2.49 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | - | - | [5 empty] | nan
50 | RCM | Gariyadhar | Bhavnagar | Calculated as per 80% of Water Supply | 2.46 | 5824 | 5824 | 0 |  | 7 | 2.46 | 0 | Attached as Annexure-II | In River | 0 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 10.75 | Utilizing |  |  |  | 2026-11-26 | nan | 10.75
51 | RCM | Talaja | Bhavnagar | Calculated as per 80% of Water Supply | 2.99 | 7243 | 7243 | 0 |  | 6 | 2.99 | 0 | Attached as Annexure-II | In Shetruji River | 0 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 6 | Utilizing |  |  |  | 2026-02-22 | nan | 6
52 | RCM | Sutrapada | Gir Somnath | Calculated as per 80% of Water Supply | 0.59 | 1474 | 1474 | 0 |  | 4 | 0.59 | 0 | Attached as Annexure-II | In Pond | 0 | 0.1 | Agriculture |  | 0 |  |  | 0 | [11 empty] | 0 | [5 empty] | nan
53 | RCM | Talala | Gir Somnath | Calculated as per 80% of Water Supply | 2.74 | 6638 | 6638 | 0 |  | 4 | 2.74 | 0 | Attached as Annexure-II | In Hiran River | 0 | 0.5 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 10.02 | Utilizing |  |  |  | 2026-11-26 | nan | 10.02
54 | RCM | Manavadar | Junagadh | Calculated as per 80% of Water Supply | 2.34 | 5843 | 5843 | 0 |  | 5 | 2.34 | 0 | Attached as Annexure-II | In Pond | 0 | 0.4 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 6.05 | Utilizing |  |  |  | 2026-05-06 | nan | 6.05
55 | RCM | Chorvad | Junagadh | Calculated as per 80% of Water Supply | 1.66 | 3930 | 3930 | 0 |  | 4 | 1.66 | 0 | Attached as Annexure-II | In Creek | 0 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | - | Under Planning |  |  |  |  | nan
56 | RCM | Visavadar | Junagadh | Calculated as per 80% of Water Supply | 1.59 | 3736 | 3736 | 0 |  | 3 | 1.59 | 0 | Attached as Annexure-II | In Drain | 0 | 0.4 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase -2 (Implement by GUDC) | 7.612 | Utilizing |  |  |  | 2026-12-31 | nan | 7.612
57 | RCM | Chalala | Amreli | Calculated as per 80% of Water Supply | 2 | 4630 | 4630 | 0 |  | 3 | 2 | 0 | Attached as Annexure-II | In Drain | 0 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 6.4 | Utilizing |  |  |  | 2026-01-17 | nan | 6.4
58 | RCM | Damnagar | Amreli | Calculated as per 80% of Water Supply | 1.92 | 3261 | 3261 | 0 |  | 2 | 0 | 1.92 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | UGD Phase -2 (Implement by ULB) | Total-47.5km UGD ph.2-5 km | Utilizing |  |  |  | 2025-06-30 | nan
59 | RCM | Vallabhipur | Bhavnagar | Calculated as per 80% of Water Supply | 1.01 | 2409 | 2409 | 0 |  | 2 | 1.01 | 0 | Attached as Annexure-II | In Drain | 0 | 0.2 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase -2 (Implement by GUDC) | 10.4 | Utilizing |  |  |  | 2025-12-31 | nan | 10.4
60 | RCM | Bantwa | Junagadh | Calculated as per 80% of Water Supply | 1.8 | 4202 | 4202 | 0 |  | 3 | 1.8 | 0 | Attached as Annexure-II | In River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase -2 (Implement by ULB) | Total-42.5km UGD-2, 3.4 km | Utilizing |  |  |  | 2025-11-24 | nan
61 | RCM | Vanthali | Junagadh | Calculated as per 80% of Water Supply | 1.03 | 1792 | 0 | 1792 | 2026-12-01 | 0 | 0 | 1.03 |  |  | 0 | 0 |  |  | 6 | 0.2, 0.2, 0.2, 0.2, 0.2, 0.2 | Domestic Sewage | 0 | In Drain | [9 empty] | UGD Phase -2 (Implement by GUDC) | Total-37km UGD ph.2-27 km | Utilizing |  |  |  | 2026-12-31 | Drain |  |  | 1.2
62 | New MC | Mahesana | Mahesana | Calculated as per 80% of Water Supply | 29.88 | 65422 | 54861 | 10561 | 2027-02-01 | 40 | 25.4 | 4.48 | Attached as Annexure-II | In River | 0.08 | 3.9 | Internal use by ULBs for Gardening and Landscaping |  | 1 | 2 | Domestic Sewage | 0 | In River | [9 empty] | Amrut 2.0 UGD project | 44 | Utilizing |  |  |  | 2027-02-28 | River | 44 |  | 2
63 | RCM | Modasa | Aravalli | Calculated as per 80% of Water Supply | 8.6 | 15094 | 0 | 15094 | 2026-03-01 | 0 | 0 | 8.6 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD PROJECT | 121 | Utilizing |  |  |  | 2026-03-31 | nan | 121
64 | RCM | Palanpur | Banaskantha | Calculated as per 80% of Water Supply | 19.12 | 33315 | 0 | 33315 | 2027-12-01 | 0 | 0 | 19.12 |  |  | 0 | 0 |  |  | 1 | 1.5 | Domestic Sewage | 0 | In River | [9 empty] | Amrut 2.0 UGD project | 147 | Utilizing |  |  |  | 2026-08-22 | River | 147 |  | 1.5
65 | RCM | Deesa | Banaskantha | Calculated as per 80% of Water Supply | 21.96 | 49942 | 43893 | 6049 | 2028-12-01 | 18.4 | 18.4 | 3.56 | Attached as Annexure-II | In River | 0.14 | 3.5 | Agriculture |  | 11 | 0.95, 1.05, 0.80, 1.21, 0.75 , 0.50, 0.71, 0.35, 0.98, 1.29 , 1.41 | Domestic Grey Water | 0 | In River | [9 empty] | UGD PH-4 | 56 | Utilizing |  |  |  | 2026-09-01 | River | 56 |  | 10
66 | RCM | Kalol | Gandhinagar | Calculated as per 80% of Water Supply | 16.8 | 28523 | 0 | 28523 | 2026-12-01 | 0 | 0 | 16.8 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | Amrut 2.0 word 4,5,11 ugd project | 48 | Utilizing |  |  |  | 2026-12-12 | nan | 48
67 | RCM | Kadi | Mahesana | Calculated as per 80% of Water Supply | 14.23 | 32962 | 30534 | 2428 | 2026-12-01 | 12.8 | 12.8 | 1.43 | Attached as Annexure-II | In Drain | 0.2 | 2.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD PH-3 | - | Under Planning |  |  |  |  | nan
68 | RCM | Visnagar | Mahesana | Calculated as per 80% of Water Supply | 7.52 | 17372 | 15625 | 1747 | 2027-12-01 | 17 | 6.5 | 1.02 | Attached as Annexure-II | In Pond | 1 | 1.3 | Agriculture |  | 0 |  |  | 0 | [17 empty] | nan
69 | RCM | Vadnagar | Mahesana | Calculated as per 80% of Water Supply | 3.39 | 8212 | 8212 | 0 |  | 6 | 3.39 | 0 | Attached as Annexure-II | In Drain | 0 | 0.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD PH-3 | 15 | Utilizing |  |  |  | 2025-12-30 | nan | 15
70 | RCM | Patan | Patan | Calculated as per 80% of Water Supply | 20.46 | 48809 | 48809 | 0 |  | 25 | 20.46 | 0 | Attached as Annexure-II | In Pond | 0.24 | 2.7 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Amrut 2.0 UGD project | 321.45 | Utilizing |  |  |  |  | nan | 321.45
71 | RCM | Himmatnagar | Sabarkantha | Calculated as per 80% of Water Supply | 11.4 | 25197 | 19231 | 5966 | 2027-07-01 | 18 | 8 | 3.4 | Attached as Annexure-II | In River | 0.25 | 1.1 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD PH-2 | 15.18 | Under Planning |  |  |  |  | nan | 15.18
72 | RCM | Dahegam | Gandhinagar | Calculated as per 80% of Water Supply | 7 | 16572 | 16572 | 0 |  | 6 | 6 | 1 | Attached as Annexure-II | In River | 0 | 1.2 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD PH-2 | - | Under Planning |  |  |  |  | nan
73 | RCM | Unja | Mahesana | Calculated as per 80% of Water Supply | 6.81 | 16623 | 16623 | 0 |  | 12 | 6.81 | 0 | Attached as Annexure-II | In River | 0 | 1.1 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | - | - | [5 empty] | nan
74 | RCM | Sidhpur | Patan | Calculated as per 80% of Water Supply | 7.05 | 12127 | 0 | 12127 | 2025-12-01 | 0 | 0 | 7.05 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | siddhpur stp | 51 | Utilizing |  |  |  | 2025-12-01 | nan | 51
75 | RCM | Radhanpur | Patan | Calculated as per 80% of Water Supply | 3.04 | 5168 | 0 | 5168 | 2027-06-01 | 6 | 0 | 3.04 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | ugd phase2 | 112 | Utilizing |  |  |  | 2026-08-31 | nan | 112
76 | RCM | Idar | Sabarkantha | Calculated as per 80% of Water Supply | 4 | 9470 | 9470 | 0 |  | 7 | 4 | 0 | Attached as Annexure-II | In Lake | 0 | 0.9 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | ugd phase2 | 47.78 | Utilizing |  |  |  | 2026-12-01 | nan | 47.78
77 | RCM | Dhanera | Banaskantha | Calculated as per 80% of Water Supply | 3.15 | 7874 | 7874 | 0 |  | 4 | 3.15 | 0 | Attached as Annexure-II | In River | 0 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 19 | Under Planning |  |  |  | 2026-12-01 | nan | 19
78 | RCM | Tharad | Banaskantha | Calculated as per 80% of Water Supply | 3.39 | 8026 | 8026 | 0 |  | 5 | 3.39 | 0 | Attached as Annexure-II | In Lake | 0 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | Tharad UGD PH-2 | 17 | Utilizing |  |  |  | 2026-12-31 | nan | 17
79 | RCM | Bhabhar | Banaskantha | Calculated as per 80% of Water Supply | 2.15 | 5199 | 5199 | 0 |  | 4 | 2.15 | 0 | Attached as Annexure-II | In Lake | 0 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD PHASE-2 | 14 | Utilizing |  |  |  | 2025-09-09 | nan | 14
80 | RCM | Thara | Banaskantha | Calculated as per 80% of Water Supply | 3.05 | 7625 | 7625 | 0 |  | 2.8 | 2.8 | 0.25 | Attached as Annexure-II | In Lake | 0 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | 3.8 | Utilizing |  |  |  | 2025-11-30 | nan | 3.8
81 | RCM | Mansa | Gandhinagar | Calculated as per 80% of Water Supply | 5 | 12303 | 12303 | 0 |  | 5 | 5 | 0 | Attached as Annexure-II | In Lake | 0.4 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD PROJECT | 19 | Utilizing |  |  |  | 2025-12-01 | nan | 19
82 | RCM | Kheralu | Mahesana | Calculated as per 80% of Water Supply | 2.61 | 6422 | 6422 | 0 |  | 3 | 2.61 | 0 | Attached as Annexure-II | In River | 0 | 0.4 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 11.22 | Utilizing |  |  |  | 2025-12-31 | nan | 11.22
83 | RCM | Vijapur | Mahesana | Calculated as per 80% of Water Supply | 3.55 | 7678 | 5830 | 1848 | 2027-06-01 | 4 | 2.5 | 1.05 | Attached as Annexure-II | In Lake | 0 | 0.5 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | - | Utilizing |  |  |  |  | nan
84 | RCM | Harij | Patan | Calculated as per 80% of Water Supply | 2.2 | 5371 | 5371 | 0 |  | 3 | 2.2 | 0 | Attached as Annexure-II | In River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | - | Utilizing |  |  |  |  | nan
85 | RCM | Khedbramha | Sabarkantha | Calculated as per 80% of Water Supply | 4.23 | 9281 | 6783 | 2498 | 2026-12-01 | 6 | 2.8 | 1.43 | Attached as Annexure-II | In River | 0 | 0.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | 97.12 | Under Planning |  |  |  | 2026-12-31 | nan | 97.12
86 | RCM | Prantij | Sabarkantha | Calculated as per 80% of Water Supply | 3.38 | 8002 | 8002 | 0 |  | 4 | 3.38 | 0 | Attached as Annexure-II | In River | 0 | 0.7 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD Phase 2 | 7.5 | Utilizing |  |  |  | 2027-01-01 | nan | 7.5
87 | RCM | Talod | Sabarkantha | Calculated as per 80% of Water Supply | 1.75 | 4375 | 4375 | 0 |  | 4 | 1.75 | 0 | Attached as Annexure-II | In Checkdam | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | 8.5 | Under Planning |  |  |  | 2027-12-30 | nan | 8.5
88 | RCM | Vadali | Sabarkantha | Calculated as per 80% of Water Supply | 1.88 | 4384 | 4384 | 0 |  | 4 | 1.88 | 0 | Attached as Annexure-II | In Pond | 0.53 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD phase-2 | 10 | Utilizing |  |  |  |  | nan | 10
89 | RCM | Bayad | Aravalli | Calculated as per 80% of Water Supply | 2.1 | 3676 | 0 | 3676 | 2027-06-01 | 0 | 0 | 2.1 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD Ptoject | 20 | Utilizing |  |  |  | 2026-04-01 | nan | 20
90 | RCM | Chansma | Patan | Calculated as per 80% of Water Supply | 3.1 | 7510 | 7510 | 0 |  | 2.5 | 2.5 | 0.6 | Attached as Annexure-II | In Lake | 0 | 0.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | sjmmsvy UGD phase-2 | 19 | Utilizing |  |  |  | 2027-06-30 | nan | 19
91 | New MC | Morbi | Morbi | Calculated as per 80% of Water Supply | 31.2 | 68353 | 47500 | 20853 | 2027-12-01 | 38 | 19 | 12.2 | Attached as Annexure-II | In Machhu River | 1 | 2.8 | Internal use by ULBs for Gardening and Landscaping |  | 3 | 2.5, 5.95 , 4.05 | Domestic Sewage | 0 | In Machchu River | [9 empty] | Amrut - 2 | 56.5 | Utilizing |  |  |  | 2025-12-31 | River | 56.5 |  | 12.5
92 | New MC | Gandhidham | Kutch | Calculated as per 80% of Water Supply | 28.8 | 65680 | 59186 | 6494 | 2027-12-01 | 25 | 25 | 3.8 | Attached as Annexure-II | Supplied To Industry | 0.84 | 3.4 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | Amrut - 2 | 142 | Under Planning |  |  |  | 2026-12-31 | nan | 142
93 | New MC | Porbandar | Porbandar | Calculated as per 80% of Water Supply | 26.32 | 55480 | 39352 | 16128 | 2027-12-01 | 31 | 17 | 9.32 | Attached as Annexure-II | In Creek | 0.21 | 2.5 | Agriculture |  | 5 | 0.022, 0.044 , 4.40 , 0.22 , 0.088 | Domestic Sewage | 0 | In Creek | [9 empty] | SJMMSVY | 69 | Utilizing |  |  |  | 2025-11-30 | Creek | 69 |  | 4.774
94 | RCM | Nakhatrana | Kutch | Calculated as per 80% of Water Supply | 6 | 10388 | 0 | 10388 | 2028-06-01 | 0 | 0 | 6 |  |  | 0 | 0 |  |  | 3 | 0.20, 0.25 , 0.20 | Domestic Sewage | 0 | In Pond | [9 empty] | SJMMSVY-UGD I | 75 | Under Planning |  |  |  | 2027-12-31 | Pond | 75 |  | 0.65
95 | RCM | Tankara | Morbi | Calculated as per 80% of Water Supply | 2.8 | 4754 | 0 | 4754 | 2027-12-01 | 0 | 0 | 2.8 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY-UGD I | 3.5 | Under Planning |  |  |  | 2026-12-31 | nan | 3.5
96 | RCM | Dwarka | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 2.8 | 6731 | 6731 | 0 |  | 7 | 2.8 | 0 | Attached as Annexure-II | In Pond | 1 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | ugd-3 | 5 | Under Construction |  |  |  | 2026-12-31 | nan | 5
97 | RCM | Khambhaliya | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 4.9 | 8377 | 0 | 8377 | 2027-12-01 | 6 | 0 | 4.9 |  |  | 0 | 0 |  |  | 2 | 3.0 ,2.0 | Domestic Sewage | 0 | In Drain | [9 empty] | UGD -2 | 8 | Under Planning |  |  |  | 2027-12-31 | Drain | 8 |  | 5
98 | RCM | Bhuj | Kutch | Calculated as per 80% of Water Supply | 32.69 | 61254 | 14423 | 46831 | 2027-12-01 | 24 | 6 | 26.69 | Attached as Annexure-II | In Rudrmata Dam | 1 | 0.8 | Agriculture |  | 0 |  |  | 0 | [10 empty] | AMRUT -2 UGD-II | 69.84 | Utilizing |  |  |  | 2027-02-27 | nan | 69.84
99 | RCM | Anjar | Kutch | Calculated as per 80% of Water Supply | 14.4 | 28569 | 12401 | 16168 | 2026-12-01 | 5 | 5 | 9.4 | Attached as Annexure-II | Supplied To Industry | 0.7 | 1.1 | Internal use by ULBs for Gardening and Landscaping |  | 4 | 2.5, 3.5, 2.5 , 2.4 | Domestic Grey Water | 0 | In River | [9 empty] | SJMMSVY | 22.25 | Utilizing |  |  |  | 2026-02-26 | River | 22.25 |  | 10.9
100 | RCM | Jetpur | Rajkot | Calculated as per 80% of Water Supply | 8.32 | 19557 | 19557 | 0 |  | 24 | 8.32 | 0 | Attached as Annexure-II | In Bhadar River-1 | 1 | 1.6 | Agriculture and Landfill Sites |  | 0 |  |  | 0 | [10 empty] | AMRUT - 2 | 52.846 | Utilizing |  |  |  | 2026-12-31 | nan | 52.846
101 | RCM | Gondal | Rajkot | Calculated as per 80% of Water Supply | 14.4 | 32484 | 28409 | 4075 | 2026-12-01 | 17 | 12 | 2.4 | Attached as Annexure-II | In Gondli River | 1 | 2.3 | Agriculture and Landfill Sites |  | 5 | 0.3, 0.4, 0.15, 0.25, 0.9 | Domestic Sewage | 0 | In Gondali River | [9 empty] | AMRUT - 2 | 21.5 | Utilizing |  |  |  | 2026-12-30 | River | 21.5 |  | 2
102 | RCM | Dhoraji | Rajkot | Calculated as per 80% of Water Supply | 6.82 | 16915 | 16915 | 0 |  | 13 | 6.82 | 0 | Attached as Annexure-II | In Bhadar River-1 | 0.88 | 1.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD - II | 63.46 | Utilizing |  |  |  | 2025-09-30 | nan | 63.46
103 | RCM | Okha | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 2.97 | 7190 | 7190 | 0 |  | 10 | 2.97 | 0 | Attached as Annexure-II | In Creek | 0 | 0.5 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 70 | Under Planning |  |  |  | 2027-06-01 | nan | 70
104 | RCM | Mandvi (Kutch) | Kutch | Calculated as per 80% of Water Supply | 6.11 | 10712 | 0 | 10712 | 2027-12-01 | 0 | 0 | 6.11 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 15 | Utilizing |  |  |  | 2026-06-30 | nan | 15
[33 empty] | SJMMSVY UGD - II |  | Utilizing |  |  |  | 2026-06-30 | nan
105 | RCM | Bhachau | Kutch | Calculated as per 80% of Water Supply | 5.35 | 13375 | 13375 | 0 |  | 6 | 5.35 | 0 | Attached as Annexure-II | In Drain | 0.84 | 0.8 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD - II | 15.92 | Utilizing |  |  |  | 2026-12-30 | nan | 15.92
106 | RCM | Mundra-Baroi | Kutch | Calculated as per 80% of Water Supply | 6.28 | 10872 | 0 | 10872 | 2026-12-01 | 0 | 0 | 6.28 |  |  | 0 | 0 |  |  | 2 | 1.5, 0.5 | Domestic Sewage | 0 | In Creek | [9 empty] | SJMMSVY UGD | 117 | Utilizing |  |  |  | 2026-12-30 | Creek | 117 |  | 2
107 | RCM | Vankaner | Morbi | Calculated as per 80% of Water Supply | 3.82 | 7425 | 3009 | 4416 | 2025-12-01 | 6 | 1.3 | 2.52 | Attached as Annexure-II | In Machhu River | 1 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | ugd-2 | 7.6 | Utilizing |  |  |  | 2025-12-30 | nan | 7.6
108 | RCM | Ranavav | Porbandar | Calculated as per 80% of Water Supply | 5.3 | 9059 | 0 | 9059 | 2027-12-01 | 0 | 0 | 5.3 |  |  | 0 | 0 |  |  | 1 | 4.8 | Domestic Sewage | 0 | In River | [9 empty] | ugd II | 25.75 | Under Planning |  |  |  | 2027-06-01 | River | 25.75 |  | 4.8
[33 empty] | ugd II |  | Under Planning |  |  |  | 2027-06-01 | nan
109 | RCM | Upleta | Rajkot | Calculated as per 80% of Water Supply | 6.4 | 11081 | 0 | 11081 | 2027-12-01 | 0 | 0 | 6.4 |  |  | 0 | 0 |  |  | 2 | 4 , 2.4 | Domestic Sewage | 0 | In Bhadar river | [9 empty] | ugd I | 144 | Utilizing |  |  |  | 2025-08-28 | River | 144 |  | 6.4
110 | RCM | Jasdan | Rajkot | Calculated as per 80% of Water Supply | 4.96 | 11567 | 11567 | 0 |  | 8 | 4.96 | 0 | Attached as Annexure-II | In River | 0.97 | 0.8 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD -2 | 53.75 | Under Planning |  |  |  | 2026-12-31 | nan | 53.75
111 | RCM | Salaya | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 2.4 | 4128 | 0 | 4128 | 2026-12-01 | 6 | 0 | 2.4 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 20 | Under Planning |  |  |  | 2027-12-31 | nan | 20
112 | RCM | Bhanvad | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 2.43 | 4271 | 0 | 4271 | 2027-12-01 | 0 | 0 | 2.43 |  |  | 0 | 0 |  |  | 3 | 0.1, 0.1, 0.2 | Domestic Sewage | 0 | In Nakti River | [9 empty] | UGD - II | 2.62 | Utilizing |  |  |  | 2026-09-15 | River | 2.62 |  | 0.4
113 | RCM | Jamraval | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 1.98 | 3435 | 0 | 3435 | 2026-12-01 | 0 | 0 | 1.98 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 16.87 | Under Planning |  |  |  | 2026-12-31 | nan | 16.87
114 | RCM | Dhrol | Jamnagar | Calculated as per 80% of Water Supply | 3.34 | 7722 | 7722 | 0 |  | 5 | 3.34 | 0 | Attached as Annexure-II | In River | 1 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 8 | Utilizing |  |  |  | 2026-12-31 | nan | 8
115 | RCM | Jamjodhpur | Jamnagar | Calculated as per 80% of Water Supply | 3.56 | 7793 | 5640 | 2153 | 2027-12-01 | 4 | 2.31 | 1.25 | Attached as Annexure-II | In River | 1 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 11 | Utilizing |  |  |  | 2026-03-01 | nan | 11
116 | RCM | Kalavad | Jamnagar | Calculated as per 80% of Water Supply | 2.2 | 5093 | 5093 | 0 |  | 5 | 2.2 | 0 | Attached as Annexure-II | In Falku River | 0 | 0.4 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 13 | Utilizing |  |  |  | 2026-12-31 | nan | 13
117 | RCM | Sikka | Jamnagar | Calculated as per 80% of Water Supply | 3.41 | 6850 | 3578 | 3272 | 2027-12-01 | 3 | 1.5 | 1.91 | Attached as Annexure-II | In Pond | 1 | 0.3 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 18 | Utilizing |  |  |  | 2026-04-23 | nan | 18
118 | RCM | Rapar | Kutch | Calculated as per 80% of Water Supply | 3.47 | 8044 | 8044 | 0 |  | 5 | 3.47 | 0 | Attached as Annexure-II | In Pond | 0 | 0.8 | Agriculture |  | 0 |  |  | 0 | [10 empty] | SJMMSVY UGD - II | 12.4 | Utilizing |  |  |  | 2026-12-30 | nan | 12.4
119 | RCM | Halvad | Morbi | Calculated as per 80% of Water Supply | 4.73 | 11647 | 11647 | 0 |  | 7 | 4.73 | 0 | Attached as Annexure-II | In Pond | 1 | 0.9 | Agriculture |  | 0 |  |  | 0 | [10 empty] | UGD - II | 14.82 | Utilizing |  |  |  | 2025-12-06 | nan | 14.82
120 | RCM | Bhayavadar | Rajkot | Calculated as per 80% of Water Supply | 2.16 | 5314 | 5314 | 0 |  | 3 | 2.16 | 0 | Attached as Annexure-II | In Rupavati River | 1 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [10 empty] | UGD - II | 2.19 | Utilizing |  |  |  | 2027-02-28 | nan | 2.19
121 | RCM | Maliya-Miyana | Morbi | Calculated as per 80% of Water Supply | 1.38 | 3369 | 3369 | 0 |  | 3 | 1.38 | 0 | Attached as Annexure-II | In River | 0.72 | 0.2 | Landfill Sites |  | 0 |  |  | 0 | [11 empty] | 0 | [5 empty] | nan
122 | RCM | Kutiyana | Porbandar | Calculated as per 80% of Water Supply | 2.08 | 3633 | 0 | 3633 | 2026-12-01 | 3 | 0 | 2.08 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [10 empty] | UGD-ll | 53.4 | Under Planning |  |  |  | 2026-12-31 | nan | 53.4
123 | New MC | Navsari | Navsari | Calculated as per 80% of Water Supply | 49.47 | 94031 | 30287 | 63744 | 2027-02-01 | 47 | 12.89 | 36.58 | Attached as Annexure-II | In Purna River | 0 | 2.8 | Landfill Sites |  | 1 | 4 | Domestic Grey Water | 0 | In Purna River | [10 empty] | 75.6 | Utilizing |  |  |  | 2027-02-28 | River |  |  | 4
124 | New MC | Vapi | Valsad | Calculated as per 80% of Water Supply | 19.33 | 39468 | 22662 | 16806 | 2027-03-01 | 14 | 9.5 | 9.83 | Attached as Annexure-II | In River | 0 | 2 | Agriculture |  | 1 | 4 | Domestic Grey Water | 0 | In River | [10 empty] | 25 | Utilizing |  |  |  | 2027-11-03 | River |  |  | 4
[34 empty] | 0.63 | Utilizing |  |  |  | 2026-08-09 | nan
125 | RCM | Bharuch | Bharuch | Calculated as per 80% of Water Supply | 34.72 | 71899 | 39063 | 32836 | 2026-11-26 | 29 | 16 | 18.72 | Attached as Annexure-II | In River | 0 | 3.5 | Agriculture |  | 6 | 4 | Domestic Grey Water | 0 | In River | [10 empty] | 46 | Utilizing |  |  |  | 2026-09-13 | River |  |  | 4
126 | RCM | Ankleswar | Bharuch | Calculated as per 80% of Water Supply | 8.48 | 14878 | 0 | 14878 | 2026-03-01 | 0 | 0 | 8.48 |  |  | 0 | 0 |  |  | 2 | 2 | Domestic Sewage | 0 | In River | [10 empty] | 8 | Utilizing |  |  |  | 2026-05-25 | River |  |  | 2
127 | RCM | Vyara | Tapi | Calculated as per 80% of Water Supply | 5.94 | 12532 | 8286 | 4246 | 2026-09-01 | 7 | 3.5 | 2.44 | Attached as Annexure-II | In River | 0.03 | 0.8 | Internal use by ULBs for Gardening and Landscaping |  | 1 | 2.9 | Domestic Sewage | 0 | In Mindhola river | [10 empty] | 6 | Utilizing |  |  |  | 2026-08-09 | River |  |  | 2.9
128 | RCM | Valsad | Valsad | Calculated as per 80% of Water Supply | 36.39 | 70527 | 24225 | 46302 | 2026-12-01 | 20 | 10 | 26.39 | Attached as Annexure-II | In Auranga River | 0.1 | 1.6 | Agriculture |  | 4 | 3 | Domestic Sewage | 0 | In Auranga River | [10 empty] | 7 | Utilizing |  |  |  | 2025-11-16 | River |  |  | 3
[34 empty] | 11 | Utilizing |  |  |  | 2026-02-26 | nan
[34 empty] | 38 | Utilizing |  |  |  | 2026-10-28 | nan
129 | RCM | Jambusar | Bharuch | Calculated as per 80% of Water Supply | 4.36 | 10401 | 10401 | 0 |  | 6 | 4.36 | 0 | Attached as Annexure-II | In Dhadhar River | 0 | 0.6 | Agriculture |  | 0 |  |  | 0 | [11 empty] | 62 | Utilizing |  |  |  | 2027-02-06 | nan
130 | RCM | Rajpipla | Narmada | Calculated as per 80% of Water Supply | 3.92 | 9280 | 9280 | 0 |  | 6 | 3.92 | 0 | Attached as Annexure-II | In Drain | 0 | 0.9 | Agriculture |  | 0 |  |  | 0 | [11 empty] | 0 | [5 empty] | nan
131 | RCM | Bilimora | Navsari | Calculated as per 80% of Water Supply | 7.71 | 16634 | 11417 | 5217 | 2026-10-01 | 8 | 4.64 | 3.07 | Attached as Annexure-II | In Ambika River | 0 | 0.8 | Agriculture |  | 1 | 1.19 | Domestic Sewage | 0 | In Ambika River | [10 empty] | 14 | Utilizing |  |  |  | 2026-10-20 | River |  |  | 1.19
132 | RCM | Bardoli | Surat | Calculated as per 80% of Water Supply | 8.8 | 20370 | 20370 | 0 |  | 11 | 8.8 | 0 | Attached as Annexure-II | In Mindola River | 0.23 | 1.9 | Agriculture |  | 0 |  |  | 0 | [11 empty] | 0 | [5 empty] | nan
133 | RCM | Kadodara | Surat | Calculated as per 80% of Water Supply | 4.43 | 7720 | 0 | 7720 | 2027-12-01 | 0 | 0 | 4.43 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | [11 empty] | 0 | [5 empty] | nan
134 | RCM | Tarsadi | Surat | Calculated as per 80% of Water Supply | 2.8 | 4845 | 0 | 4845 | 2027-12-01 | 0 | 0 | 2.8 |  |  | 0 | 0 |  |  | 1 | 3.6 | Domestic Sewage | 0 | In Kim river | [10 empty] | 43.26 | Utilizing |  |  |  | 2026-10-28 | River |  |  | 3.6
135 | RCM | Mandvi (Surat) | Surat | Calculated as per 80% of Water Supply | 2.15 | 5177 | 5177 | 0 |  | 4 | 2.15 | 0 | Attached as Annexure-II | In River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [11 empty] | 30.18 | Utilizing |  |  |  | 2026-12-09 | nan
136 | RCM | Songadh | Tapi | Calculated as per 80% of Water Supply | 4.24 | 8682 | 4429 | 4253 | 2027-03-01 | 5 | 1.8 | 2.44 | Attached as Annexure-II | In River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 1 | 1.5 | Domestic Grey Water | 0 | In River | [10 empty] | 25 | Utilizing |  |  |  | 2027-03-31 | River |  |  | 1.5
137 | RCM | Paradi | Valsad | Calculated as per 80% of Water Supply | 3.36 | 5890 | 0 | 5890 | 2026-12-01 | 0 | 0 | 3.36 |  |  | 0 | 0 |  |  | 1 | 2.8 | Domestic Sewage | 0 | In Pardi khadi | [10 empty] | 11 | Utilizing |  |  |  | 2025-12-31 | Creek |  |  | 2.8
138 | RCM | Umargam | Valsad | Calculated as per 80% of Water Supply | 4.59 | 7841 | 0 | 7841 | 2027-12-01 | 0 | 0 | 4.59 |  |  | 0 | 0 |  |  | 1 | 5.2 | Domestic Sewage | 0 | In Umargam khadi | [10 empty] | 10 | Utilizing |  |  |  | 2027-12-31 | Creek |  |  | 5.2
139 | RCM | Dharampur | Valsad | Calculated as per 80% of Water Supply | 3.48 | 7212 | 4327 | 2885 | 2025-12-01 | 4 | 1.8 | 1.68 | Attached as Annexure-II | In Swargvahini River | 0 | 0.4 | Internal use by ULBs for Gardening and Landscaping |  | 1 | 1.7 | Domestic Sewage | 0 | In C reek | [10 empty] | 13 | Utilizing |  |  |  | 2025-12-26 | Creek |  |  | 1.7
140 | RCM | Amod | Bharuch | Calculated as per 80% of Water Supply | 1.77 | 4220 | 4220 | 0 |  | 3 | 1.77 | 0 | Attached as Annexure-II | In Dhadhar River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [11 empty] | 7.81 | Utilizing |  |  |  | 2026-05-25 | nan
141 | RCM | Gandevi | Navsari | Calculated as per 80% of Water Supply | 1.86 | 4577 | 4577 | 0 |  | 3 | 1.86 | 0 | Attached as Annexure-II | In Bokadiya River | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | 0 | [11 empty] | 3.2 | Utilizing |  |  |  | 2026-03-23 | nan
142 | New MC | Anand | Anand | Calculated as per 80% of Water Supply | 17.04 | 42274 | 42274 | 0 |  | 53 | 17.04 | 0 | Attached as Annexure-II | In Irrigation Canal | 0 | 2.4 | Agriculture |  | 0 |  |  | - | [10 empty] | AMRUT 2.0 (SWAP-1) UGD Phase-2 | 90 | Utilizing |  |  |  | 2027-12-01 | nan | 90
143 | RCM | Karamsad | Anand | Calculated as per 80% of Water Supply | 4.66 | 11042 | 11042 | 0 |  | 7 | 4.66 | 0 | Attached as Annexure-II | In Irrigation Canal | 0 | 0.9 | Agriculture |  | 0 |  |  | - | [17 empty] | nan
144 | RCM | V.V.nagar | Anand | Calculated as per 80% of Water Supply | 9.9 | 17137 | 0 | 17137 | 2027-12-01 | 0 | 0 | 9.9 |  |  | 0 | 0 |  |  | 1 | 15 | Domestic Grey Water | - | In Drain | [9 empty] | - | - | [5 empty] | Drain |  |  | 15
145 | RCM | Vaghodia | Vadodara | Calculated as per 80% of Water Supply | 3.76 | 6597 | 0 | 6597 | 2028-03-01 | 0 | 0 | 3.76 |  |  | 0 | 0 |  |  | 2 | 3, 0.76 | Domestic Grey Water | - | In Pond | [9 empty] | SJMMSVY waghodia under ground drainage project | 44.61 | Under Planning |  |  |  | 2027-12-01 | Pond | 44.61 |  | 3.76
146 | RCM | Khambhat | Devbhumi Dwarka | Calculated as per 80% of Water Supply | 9.35 | 23187 | 23187 | 0 |  | 11 | 9.35 | 0 | Attached as Annexure-II | In Drain | 0 | 1.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | Khambhat underground drainage schem - phase 2 | 34.55 | Utilizing |  |  |  | 2026-05-27 | nan | 34.55
147 | RCM | Dahod | Dahod | Calculated as per 80% of Water Supply | 14.04 | 31291 | 22500 | 8791 | 2025-12-01 | 14 | 9 | 5.04 | Attached as Annexure-II | In River | 0 | 1.3 | Agriculture |  | 0 |  |  | - | [10 empty] | missing link drainage natwork and house connection | 182 | Under Construction |  |  |  | 2026-02-01 | nan | 182
148 | RCM | Lunavada | Mahisagar | Calculated as per 80% of Water Supply | 6.7 | 14105 | 9398 | 4707 | 2026-08-01 | 6 | 4 | 2.7 | Attached as Annexure-II | In Drain | 0 | 0.9 | Internal use by ULBs for Gardening and Landscaping |  | 2 | 0.25 | Domestic Grey Water | - | In Drain | [9 empty] | UGD Phase-2 under SJMMSVY | 16.1 | Under Construction |  |  |  | 2025-12-01 | Drain | 16.1 |  | 0.25
149 | RCM | Godhra | Panchmahal | Calculated as per 80% of Water Supply | 19.26 | 38448 | 17224 | 21224 | 2027-12-01 | 28 | 7 | 12.26 | Attached as Annexure-II | In River | 0 | 1.1 | Agriculture |  | 1 | 2.6 | Domestic Grey Water | - | In River | [9 empty] | AMRUT 2.0 & SJMMSVY | 216 | Under Construction |  |  |  | 2026-06-27 | River | 216 |  | 2.6
150 | RCM | Borsad | Anand | Calculated as per 80% of Water Supply | 10.21 | 23378 | 23378 | 0 |  | 10 | 9.8 | 0.41 | Attached as Annexure-II | In Pond | 0 | 1.8 | Landfill Sites |  | 0 |  |  | - | [10 empty] | UGD Phase 2 work ongoing | 33.5 | Under Planning |  |  |  | 2027-06-01 | nan | 33.5
151 | RCM | Petlad | Anand | Calculated as per 80% of Water Supply | 16.83 | 33216 | 14568 | 18648 | 2027-05-01 | 10 | 6.2 | 10.63 | Attached as Annexure-II | In Pond | 0 | 1.2 | Agriculture |  | 1 | 1.5 | Domestic Grey Water | - | In Drain | [9 empty] | CONSTRUCTUIN OF PETLAD UNDERGROUND DRAINAGE PROJECT PHASE-II UNDER SJMMSVY. | 32.5 | Under Construction |  |  |  | 2027-05-01 | Drain | 32.5 |  | 1.5
152 | RCM | Chhotaudepur | Chhotaudepur | Calculated as per 80% of Water Supply | 4.83 | 9286 | 3551 | 5735 | 2027-12-01 | 5 | 1.5 | 3.33 | Attached as Annexure-II | In Pond | 0 | 0.3 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | UGD PHASE-2 UNDER SJMMSVY | 18.6 | Under Planning |  |  |  | 2026-12-27 | nan | 18.6
153 | RCM | BalasInor | Mahisagar | Calculated as per 80% of Water Supply | 4.02 | 9294 | 9294 | 0 |  | 7 | 4.02 | 0 | Attached as Annexure-II | In Sump For Reuse | 1 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | SJMMSVY balasinor under ground drainage project Phase-2 | 18.6 | Utilizing |  |  |  | 2026-04-27 | nan | 18.6
154 | RCM | Halol | Panchmahal | Calculated as per 80% of Water Supply | 10.15 | 23651 | 20000 | 3651 | 2026-12-01 | 12 | 8 | 2.15 | Attached as Annexure-II | In Drain | 0 | 1.4 | Agriculture |  | 0 |  |  | - | [10 empty] | SJMMSVY UGD Phase ii | 12.43 | Utilizing |  |  |  | 2027-06-01 | nan | 12.43
155 | RCM | Dabhoi | Vadodara | Calculated as per 80% of Water Supply | 6.39 | 15119 | 15119 | 0 |  | 9 | 6.39 | 0 | Attached as Annexure-II | In Pond | 0 | 0.9 | Agriculture |  | 0 |  |  | - | [10 empty] | UGD-2 | 27.5 | Under Planning |  |  |  | 2026-08-27 | nan | 27.5
156 | RCM | Padra | Vadodara | Calculated as per 80% of Water Supply | 6.14 | 13672 | 13672 | 0 |  | 6 | 5.6 | 0.54 | Attached as Annexure-II | In Pond | 0 | 0.8 | Agriculture |  | 0 |  |  | - | [10 empty] | UGD-2 | 28.75 | Under Planning |  |  |  | 2026-12-27 | nan | 28.75
157 | RCM | Umreth | Anand | Calculated as per 80% of Water Supply | 6.1 | 14441 | 14441 | 0 |  | 6.1 | 6.1 | 0 | Attached as Annexure-II | In Drain | 0 | 0.8 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | UGD PHASE-2 UNDER SJMMSVY | 23 | Under Planning |  |  |  | 2026-03-01 | nan | 23
158 | RCM | Anklav | Anand | Calculated as per 80% of Water Supply | 3.4 | 7870 | 7870 | 0 |  | 4 | 3.4 | 0 | Attached as Annexure-II | In Pond | 0 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | - | 21 | [5 empty] | nan | 21
159 | RCM | Oad | Anand | Calculated as per 80% of Water Supply | 3.56 | 7968 | 6152 | 1816 | 2027-05-01 | 3 | 2.5 | 1.06 | Attached as Annexure-II | In Drain | 0 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 1 | 0.8 | Domestic Grey Water | - | In Drain | [9 empty] | UGD PHASE-2 UNDER SJMMSVY | 16.32 | Under Planning |  |  |  | 2026-05-27 | Drain | 16.32 |  | 0.8
160 | RCM | Boriyavi | Anand | Calculated as per 80% of Water Supply | 2.41 | 5631 | 5631 | 0 |  | 3 | 2.41 | 0 | Attached as Annexure-II | In Pond | 0 | 0.5 | Agriculture |  | 0 |  |  | - | [10 empty] | UGD PHASE-2 UNDER SJMMSVY |  | Utilizing |  |  |  | 2026-05-27 | nan
161 | RCM | Zalod | Dahod | Calculated as per 80% of Water Supply | 4.6 | 11319 | 11319 | 0 |  | 5 | 4.6 | 0 | Attached as Annexure-II | In River | 0 | 0.7 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | UGD PHASE-2 UNDER SJMMSVY | 10.25 | Utilizing |  |  |  | 2025-10-01 | nan | 10.25
162 | RCM | Devgadh bariya | Dahod | Calculated as per 80% of Water Supply | 3.8 | 8862 | 8862 | 0 |  | 4 | 3.8 | 0 | Attached as Annexure-II | In River | 0 | 0.6 | Internal use by ULBs for Gardening and Landscaping |  | 0 |  |  | - | [10 empty] | UGD PHASE-2 UNDER SJMMSVY | 9.5 | Utilizing |  |  |  | 2026-12-25 | nan | 9.5
163 | RCM | Santrampur | Mahisagar | Calculated as per 80% of Water Supply | 2.55 | 6132 | 6132 | 0 |  | 3 | 2.55 | 0 | Attached as Annexure-II | In River | 0 | 0.4 | Landfill Sites |  | 0 |  |  | - | [10 empty] | UGD Phase-2 under SJMMSVY | 11.69 | Utilizing |  |  |  | 2026-05-01 | nan | 11.69
164 | RCM | Kaalol | Panchmahal | Calculated as per 80% of Water Supply | 3.66 | 7703 | 4464 | 3239 | 2027-12-01 | 5 | 1.8 | 1.86 | Attached as Annexure-II | In River | 0 | 0.2 | Landfill Sites |  | 2 | 1.2 | Domestic Grey Water | - | In Drain | [9 empty] | UGD Phase-2 under SJMMSVY | 7.6 | Under Planning |  |  |  | 2026-08-26 | Drain | 7.6 |  | 1.2
165 | RCM | Shahera | Panchmahal | Calculated as per 80% of Water Supply | 1.77 | 4223 | 4223 | 0 |  | 3 | 1.77 | 0 | Attached as Annexure-II | In Drain | 0 | 0.2 | Agriculture |  | 0 |  |  | - | [10 empty] | UGD PHASE 1 COMPLETED. PHASE 2 under construction | 15 | Under Construction |  |  |  | 2025-09-01 | nan | 15
166 | RCM | Karjan | Vadodara | Calculated as per 80% of Water Supply | 5.2 | 13000 | 13000 | 0 |  | 5.2 | 5.2 | 0 | Attached as Annexure-II | In Drain | 0 | 1 | Agriculture |  | 0 |  |  | - | [10 empty] | Supplementary Drainage Project | 25.89 | Utilizing |  |  |  | 2025-12-01 | nan | 25.89
167 | RCM | Savli | Vadodara | Calculated as per 80% of Water Supply | 3.33 | 5771 | 0 | 5771 | 2027-12-01 | 0 | 0 | 3.33 |  |  | 0 | 0 |  |  | 2 | 0.8 | Domestic Grey Water | - | In Pond | [9 empty] | UGD Phase-2 under SJMMSVY | 9 | Under Construction |  |  |  | 2027-05-01 | Pond | 9 |  | 0.8
168 | RCM | Sojitra | Anand | Calculated as per 80% of Water Supply | 1.53 | 2592 | 0 | 2592 | 2026-03-01 | 0 | 0 | 1.53 |  |  | 0 | 0 |  |  | 1 | 0.7 | Domestic Grey Water | - | In Pond | [9 empty] | UGD Phase-2 under SJMMSVY | 2.6 | Under Construction |  |  |  | 2026-03-01 | Pond | 2.6 |  | 0.7